## Slide 1
Directed evolution
of enzymes
A cost-efficient laboratory workflow
Evozyme
9 September 2026
Notes: A presentation of the Evozyme starter workflow for enzyme directed evolution. Slides 1–20 form the main presentation, approximately 20 minutes. Slides 21–24 provide reference material for discussion. The default is an individually tracked, plate-based campaign. Enzyme-specific assays and expression systems still require validation. Numerical screening and cost examples are illustrative and clearly labelled.

## Slide 2
A practical starting platform
02
Manual handling and shared access can support the first campaign
Preparation
Active parent, reproducible sample preparation and multichannel pipetting.
Measurement
A compatible plate reader plus access to intended-product confirmation.
Continuity
Recoverable clones linked to sequences, plate maps and raw measurements.
Notes: Begin with access to routine molecular-biology infrastructure and a reliable activity measurement. Shared equipment and outsourced sequencing are valid parts of the platform. The assay determines the required detector. A GPU, sorter, robot or custom imaging system is optional until a demonstrated limitation supports it. This is a proposed starting configuration, not a universal biochemical protocol.
Handbook: Evozyme, edition 2, 9 September 2026.

## Slide 3
Lessons from York’s sensor evolution work
03
Published sensor work. Enzyme applications require a suitable assay and recovery method.
Published approach | Lesson for an enzyme campaign
Whole-plate imaging with custom optics and Python | Choose detection around the assay and required spatial resolution.
Single-residue exploration matched their screen | Keep intended diversity within usable screening capacity.
Controlled chemical environment around colonies | Separate reporter behavior from the property being evolved.
Recovery and further rounds of screening | Preserve the link between a score and its source clone.
Notes: York’s published setup combined a roughly 10-cm field of view, PCO edge 4.2 bi camera, Zeiss 100-mm lens, filtered LEDs, NI control hardware and Python. The group reported approximately 10,000 colonies per day. Single-residue libraries worked better for that campaign than the broad random libraries they tried. Nitrocellulose transfer helped control the colonies’ chemical environment. These are campaign-specific observations. The magnetic hardware in MagLOV addressed a specialized sensor readout.
Sources
https://andrewgyork.github.io/relaxation_sensors/appendix.html
https://andrewgyork.github.io/gfp_magnetofluorescence/appendix.html
Handbook: Evozyme, edition 2, 9 September 2026.

## Slide 4
The campaign cycle
04
01 Define
Application, parent and measurable improvement.
02 Validate
Active expression, assay range and controls.
03 Pilot
Known clones through measurement and recovery.
04 Diversify
A library that fits the measured capacity.
05 Screen
Primary measurements followed by independent confirmation.
06 Review
Archive evidence and choose the next parent.
Notes: Each stage has an exit criterion. Establish active parent material and assay quality before expanding the library. The pilot exercises the entire tracking chain. Confirmation uses independent preparations and the intended reaction. Archive the original parent and confirmed lineages so later rounds remain comparable. Routine PCR, assembly, transformation, expression and storage follow established local methods.
Handbook: Evozyme, edition 2, 9 September 2026.

## Slide 5
A measurable campaign objective
05
Objective | Primary measure | Property to preserve
Catalytic performance | Product rate at stated enzyme amount | Required selectivity and stability
Production performance | Useful activity per culture volume | Reproducible recovery and yield
Operational stability | Absolute activity after a defined exposure | Useful starting activity
Product selectivity | Desired product fraction | Adequate total conversion
The brief also fixes the parent sequence, assay conditions and minimum worthwhile improvement.
Notes: Specify the substrate, conditions, measurement units, normalization basis and required secondary properties. Activity per culture volume can improve through expression or recovery. Activity per quantified target enzyme addresses a different question. A single-substrate rate does not determine kcat or Km. Technical and independent preparation replication must remain distinguishable. Complete the campaign brief before building a large library.
Sources
https://www.ncbi.nlm.nih.gov/books/NBK92007/
Handbook: Evozyme, edition 2, 9 September 2026.

## Slide 6
Expression and sample format
06
The chosen host must produce active parent material before library expansion.
Format | Useful feature | Main confounder
Whole cells | Little extraction work | Transport, growth and abundance
Lysate | Access to intracellular enzyme | Host activity and variable lysis
Supernatant | Convenient for secreted material | Secretion, degradation and medium
Purified enzyme | Control of amount and environment | Recovery losses and extra labor
Notes: A laboratory E. coli system is a useful default only when it produces active protein. Folding, localization, disulfide formation or required processing can justify a different strain or host. Compare a characterized variant panel when changing format because the ranking may change. Crude preparations require checks that the target enzyme causes the measured activity.
Sources
https://www.neb.com/tools-and-resources/feature-articles/bypassing-common-obstacles-in-protein-expression
https://www.ncbi.nlm.nih.gov/books/NBK91995/
Handbook: Evozyme, edition 2, 9 September 2026.

## Slide 7
Essential laboratory capabilities
07
Capability | Initial provision
Routine molecular biology | Standard laboratory equipment and established protocols
Plate preparation | Multichannel pipette, compatible shaker and centrifuge carriers
Activity measurement | Reader matching wavelength, timing, temperature and plate format
Confirmation | Sequencing, protein preparation and product-analysis access
Sample continuity | Retained source stocks, clear labels and digital inventory
Notes: Ownership is not required for every capability. Confirm compatibility across culture vessels, shaker fixtures, centrifuge carriers, transfer volumes, assay plates and reader. Routine equipment includes thermocycler, gel access, pipettes, centrifuges, incubators, heating, pH measurement, refrigeration and freezers. Sequencing and analytical services must have enough capacity for confirmation. A low-speed plate spinner may be unsuitable for cell pelleting.
Handbook: Evozyme, edition 2, 9 September 2026.

## Slide 8
Plate-reader acceptance checks
08
Optics and plates
Actual wavelengths, read mode, plate transmission and signal range.
Reaction timing
Addition delays, full-plate read time and a useful kinetic window.
Physical conditions
Temperature behavior, mixing, bubbles and sample settling.
Data and support
Raw well-level export, timestamps, supported software and repair access.
Notes: Demonstrate these capabilities using the actual assay and matrix. Verify 340-nm operation and plate transmission for NADH/NADPH assays. Check complete-plate read timing, mixing and temperature equilibration. Vendor specifications are a starting point. With used equipment, confirm transferable software, computer compatibility, accessories and serviceability before interpreting the price as a complete installed cost.
Sources
https://www.bmglabtech.com/en/incubation-and-shaking/
https://www.corning.com/catalog/cls/documents/selection-guides/CLS-DD-081.pdf
Handbook: Evozyme, edition 2, 9 September 2026.

## Slide 9
A small software stack
09
Clone ID links the sequence, preparation, plate position, measurement and physical stock.
Task | Starting software | Retained output
Sequence and primer work | ApE and method-matched design | Annotated sequence and primer record
Tracking and planning | Calc or existing spreadsheet | Plate map, clone register and budget
Acquisition | Supported instrument software | Raw measurements and method settings
Analysis | Supplied Python workflow | Quality flags, candidate report and plots
Notes: ApE or an existing sequence editor handles sequence work. Primer design must match the chosen construction method. NEBaseChanger supports the Q5 method. A spreadsheet is sufficient for early maps and registers. Vendor software controls acquisition. The supplied Python example has a standard-library calculation core, with Matplotlib only for plots. Save raw exports unchanged, retain settings, and test backup restoration. More complex databases or notebook environments are optional.
Sources
https://jorgensen.biology.utah.edu/wayned/ape/
https://nebasechanger.neb.com/
https://www.libreoffice.org/
https://matplotlib.org/
Handbook: Evozyme, edition 2, 9 September 2026.

## Slide 10
Three laboratory configurations
10
Configuration | Core arrangement | Appropriate stage
Shared laboratory | Manual handling, booked reader, external confirmation | Parent assay and tracking pilot
Dedicated manual | Plate preparation, regular reader capacity, batch analysis | Stable assay and recurring campaigns
Partly automated | Validated transfers, integration and recovery after interruption | A measured repetitive bottleneck
Equipment compatibility and confirmation capacity determine useful throughput.
Notes: These are proposed access configurations, not vendor bundles or current price quotes. The analytical requirements remain similar when handling scales up. A robot can move the bottleneck to cultivation, reading or confirmation. Compare complete installed cost, staff effort, recurring use and maintenance. Start with the configuration that the assay and workload justify.
Handbook: Evozyme, edition 2, 9 September 2026.

## Slide 11
Assay quality before screening
11
Useful signal
Product standards and parent time courses establish a working range.
Matched controls
Reagent blanks, host preparations and omission controls reveal background.
Reproducibility
Independent parent preparations show whether useful differences are resolvable.
Relevant endpoint
The intended-product assay tests whether the screen predicts the application.
Notes: Detector linearity and reaction linearity are different checks. Establish appropriate background, matrix interference, product recovery and a validated fitting rule. Distributed controls can reveal plate position or read-order effects. Use independent parent preparations to estimate preparation variation. Choose a minimum worthwhile improvement and retest policy before selecting extreme values from many candidates. Control separation alone does not establish enzyme specificity.
Sources
https://www.ncbi.nlm.nih.gov/books/NBK92007/
https://www.ncbi.nlm.nih.gov/books/NBK91995/
Handbook: Evozyme, edition 2, 9 September 2026.

## Slide 12
Library strategy and screening burden
12
Strategy | Useful starting condition | Main limitation
Defined substitutions | A focused hypothesis or small budget | Only proposed changes are explored
Site saturation | A residue merits broad exploration | Repeated variants and codon bias
Random mutagenesis | Broader exploration with enough capacity | Variable mutation load and inactive clones
Recombination | Several confirmed changes exist | Combinations can lose individual benefits
Notes: The default first choice is a bounded variant set or a small number of tracked site libraries. Random mutagenesis and recombination remain useful when assay capacity supports the distribution of outcomes. Sample representative sequences to identify gross construction defects and parental carryover. A small sequence sample does not prove completeness. Confirmed hits need identity checks and recoverable stocks.
Sources
https://academic.oup.com/bioinformatics/article/21/15/3314/195665
https://andrewgyork.github.io/relaxation_sensors/appendix.html
Handbook: Evozyme, edition 2, 9 September 2026.

## Slide 13
Expected coverage and complete sampling
13
Ideal one-site NNK model. Independent draws with replacement. All 20 amino acids are targets.
Chart: Independent draws
| 0 | 16 | 32 | 48 | 64 | 80 | 96 | 112 | 128 | 144 | 160
Expected fraction | 0 | 0.51891 | 0.74464 | 0.85667 | 0.91706 | 0.95119 | 0.971 | 0.98268 | 0.98963 | 0.99377 | 0.99626
Completeness lower bound | 0 | 0 | 0 | 0 | 0 | 0.023744 | 0.42006 | 0.65364 | 0.7925 | 0.87547 | 0.92518
At 96 draws
97.1%
Expected coverage
42.0–95.3%
Bounds on seeing
every amino acid
Notes: For target probability p and n independent draws, probability observed is 1−(1−p)^n. Expected distinct targets sum these probabilities. The probability of observing every target is bounded below by max(0,1−sum of missing probabilities), and above by the smallest individual observed probability. These bounds are not exact completeness probabilities. NNK contains 32 codons, one TAG stop, and unequal amino-acid probabilities. At 96 draws, expected coverage is 97.1003%, while completeness is bounded between 42.0057% and 95.2540%. Repeated assays of the same clone do not add draws.
Sources
https://academic.oup.com/bioinformatics/article/21/15/3314/195665
Handbook: Evozyme, edition 2, 9 September 2026.

## Slide 14
LipA: an optical screening example
14
Synthetic teaching layout and measurements. No mutation sequences or experimental improvements are supplied.
96
wells in the
teaching plate
p-Nitrophenyl
butyrate screen
Samples | Wells
32 candidates × 2 technical wells | 64
8 parent preparations × 2 wells | 16
Reagent blanks | 8
Host controls | 8
Notes: The published BSLA study used tributyrin agar and a p-nitrophenyl-butyrate microplate assay. Here that concept supports a proposed starter workflow, with confirmation on the intended substrate. The teaching plate contains 32 candidate preparations with two technical wells each, eight independent parent preparations with two wells each, eight blanks and eight host controls. Total 96 wells. This richer control layout differs from the budget example, which allocates 40 clone slots per plate. Secretion and sample format must be established for the chosen construct.
Sources
https://pmc.ncbi.nlm.nih.gov/articles/PMC7139672/
Handbook: Evozyme, edition 2, 9 September 2026.

## Slide 15
Quality flags prevent unreliable ranking
15
Synthetic data. Each displayed curve is one technical well. AU = absorbance units.
Chart: Time (min)
| 0.0 | 0.5 | 1.0 | 1.5 | 2.0 | 2.5 | 3.0
C03 | 0.080544 | 0.095799 | 0.11081 | 0.12609 | 0.14112 | 0.1563 | 0.17128
C07 | 0.082343 | 0.10071 | 0.12516 | 0.15564 | 0.19204 | 0.23431 | 0.28267
C07
Nonlinear trace
C19
Technical disagreement
C23
Signal above ceiling
C27
Nonpositive rate
Notes: The program fits the same predefined times for all wells, subtracts mean blank drift, applies the signal direction, and checks plate controls before ranking. C03 qualifies for retesting under the example rules. C07 has nonlinear traces. C19 shows technical disagreement, C23 exceeds the configured signal ceiling, and C27 has a nonpositive corrected rate. The 20% retest threshold and numerical quality limits are illustrative. The traces shown here come from technical replicate 1 and are not averaged to hide variability. Source files: toolkit/example/plate_map.csv, measurements.csv, assay.json and results/candidates.csv.
Handbook: Evozyme, edition 2, 9 September 2026.

## Slide 16
Primary screening and product confirmation
16
Synthetic data. Confirmation uses three independent preparations at 0.1 µM target enzyme.
Chart: Fold vs matched parent
| C03 | C11
Primary screen | 1.4632 | 1.3589
Product confirmation | 1.2947 | 1.0166
C03
1.295× parent
in confirmation
C11
1.017× parent
in confirmation
Notes: Primary folds come from blank-corrected signal slopes. Confirmation folds use mean intended-product rates relative to the matched parent. Parent rates are 1.00, 1.04 and 0.98 µM/min. C03 rates are 1.30, 1.33 and 1.28. C11 rates are 1.02, 1.00 and 1.05. C11 loses most of its apparent screening gain in confirmation. This illustrates transfer between assays, not a reversal of the C03/C11 ordering, fitted kinetic constants or statistical significance. C03 still needs sequence, product-identity and secondary-property checks before becoming a new parent. Sources: toolkit/example/results/candidates.csv and toolkit/example/confirmation.csv.
Handbook: Evozyme, edition 2, 9 September 2026.

## Slide 17
Cofactor signals and intended products
17
Proposed adaptations of published enzyme systems. Each requires its own validated assay.
 | Alcohol dehydrogenase | P450 BM3
Screening signal | NADH decrease at 340 nm | NADPH consumption or product signal
Key ambiguity | Background cofactor loss and recycling | Uncoupling and side products
Confirmation | Product conversion and stereoselectivity | Desired-product yield and distribution
Additional access | 340-nm reader and suitable product analysis | Validated product-resolving analytics
Notes: The NADH-dependent (S)-specific alcohol dehydrogenase from Lactobacillus kefir DSM 20587 reduced acetophenone to (S)-phenylethanol in the cited characterization. The proposed screen monitors NADH loss at 340 nm and confirms product and stereoselectivity independently. Avoid conflating this enzyme with NADPH-dependent enzymes from the same species. In the P450 BM3 study, product-resolved capillary electrophoresis identified beneficial variants more effectively than cofactor depletion for the reported substrate. NADPH use can include uncoupling and side products. Appropriate chromatography or other product analytics may be shared rather than purchased.
Sources
https://pubmed.ncbi.nlm.nih.gov/19082766/
https://www.nature.com/articles/s41598-019-52077-w
Handbook: Evozyme, edition 2, 9 September 2026.

## Slide 18
An illustrative recurring round budget
18
Teaching assumptions in NOK. Equipment acquisition and current supplier quotations are separate.
Chart: NOK
| Reader access | Library construction | Contingency | Confirmation + sequence | Preparation + assays | Labor
Cost | 450 | 1500 | 2079 | 2600 | 5440 | 10800
22,869
NOK per round
159
NOK per usable result
144 expected usable clones
Notes: The model reserves four primary plates, one repeat plate, 16 control wells per plate, two technical wells per clone and one preparation per primary clone. This provides 160 sample slots. An assumed 90% usable fraction gives 144 usable results. Confirmation budgets eight candidates with three independent preparations each. Grouped costs shown here: labor 10,800 NOK, primary/repeat culture and assay 5,440, confirmation and sequencing 2,600, library construction 1,500, reader access 450, contingency 2,079. Sum 22,869 NOK. Cost per usable primary result is 158.8125 NOK. These are assumed operating values, not current quotes or cost per improved enzyme. Source: Evozyme_Planners.xlsx, Round budget.
Handbook: Evozyme, edition 2, 9 September 2026.

## Slide 19
Evidence for the next round
19
Observation | Next decision
Controls fail | Investigate and repeat the affected measurements.
Primary hit fails confirmation | Check recovery, identity, preparation and assay transfer.
Improvement persists with required properties | Verify sequence and stock, then consider a new parent.
Different lineages improve different properties | Retain alternatives and test combinations explicitly.
A valid round finds no useful improvement | Reassess exploration, parent choice and the objective.
Notes: Keep the original parent and individually identified lineages. A failed plate blocks ranking, and an extreme primary value only nominates a candidate. Independent preparation and intended-product confirmation establish whether the desired property persists. For mutations A and B, compare parent, A, B and AB under matched conditions. A plateau should trigger review of library representation, expression and assay relevance before increasing library size.
Handbook: Evozyme, edition 2, 9 September 2026.

## Slide 20
The first campaign
20
Parent and objective
A verified starting sequence and a useful comparison under stated conditions.
Assay and access
A reproducible parent assay with booked confirmation capacity.
Pilot and records
Known clones tracked through preparation, analysis and recovery.
Library and budget
A bounded library, repeat allowance and clear next-round criteria.
Notes: This closes the main presentation. The immediate output is a completed campaign brief, an accepted measurement method, demonstrated tracking and recovery, and a budget matched to real capacity. The existing handbook provides the details. Companion files include the budget/coverage/equipment workbook, campaign brief, plate map, clone register, assay record, round-review worksheet and runnable synthetic analysis. The following four slides support discussion rather than extend the core talk.
Handbook: Evozyme, edition 2, 9 September 2026.

## Slide 21
Reference: common failure patterns
21
Observation | Distinguishing check
Low signal in the parent | Active reference material, product standard and fresh reagents
Strong host background | Host, reagent and substrate-omission controls
Plate-edge or read-order pattern | Distributed parent controls and actual acquisition times
Technical wells disagree | Mixing, bubbles and transfers from a common preparation
Hit disappears after purification | Target amount and activity across preparation stages
Notes: Investigate one layer at a time and retain original measurements. The table gives distinguishing checks rather than a universal corrective protocol. Plate patterns may indicate evaporation, temperature or timing. Improvement that disappears after purification can reflect expression, host activity, recovery loss or dependence on the original context. Do not label one explanation as proven without evidence.
Handbook: Evozyme, edition 2, 9 September 2026.

## Slide 22
Reference: criteria for advanced methods
22
Method | Evidence needed before adoption
Colony imaging or droplets | Spatial/compartment signal predicts recovered enzyme performance.
Sorting or growth selection | The phenotype tracks the desired biochemical property.
Cell-free expression | The parent works reproducibly and the existing host is limiting.
Liquid-handling automation | A stable transfer process and positive net capacity/cost benefit.
Model-guided libraries | Prospective benefit over a simple equal-budget baseline.
Notes: Advanced formats are optional extensions. Colony and droplet approaches require a trustworthy link between signal and recoverable genotype. Cellular selections can enrich unrelated host or reporter adaptations. Cell-free expression needs matrix-compatible assays and DNA tracking. For model-guided libraries, evaluate prospective performance against a simple equal-budget baseline and prevent data leakage. Automation should improve useful results per unit effort after integration, repeats and maintenance.
Sources
https://andrewgyork.github.io/relaxation_sensors/appendix.html
https://pmc.ncbi.nlm.nih.gov/articles/PMC2840095/
https://pmc.ncbi.nlm.nih.gov/articles/PMC6500146/
https://pmc.ncbi.nlm.nih.gov/articles/PMC6955331/
Handbook: Evozyme, edition 2, 9 September 2026.

## Slide 23
Reference: the companion toolkit
23
Resource | Use
Campaign brief and acceptance checklist | Define the goal and establish equipment/access requirements.
Plate map, clone register and assay record | Connect observations to conditions, sequence status and stock.
Primary-screen analysis and example report | Fit rates, flag poor measurements and nominate retests.
Budget and coverage workbook | Match library scale to capacity and explicit cost assumptions.
Round-review worksheet | Record confirmation evidence and choose the next action.
Notes: The handbook and toolkit are supplied in the Evozyme project. The first-screen program supports 96-well coordinates with one preparation per candidate per plate. It handles multiple plates independently. It does not estimate kinetic constants, active-enzyme concentrations or statistical significance. The workbook separates expected coverage from probability of complete sampling and separates operating costs from missing purchase quotes. All supplied screening and confirmation observations are synthetic. See toolkit/README.md for installation, commands, input columns and limitations.
Handbook: Evozyme, edition 2, 9 September 2026.

## Slide 24
Reference: selected evidence
24
Full source links accompany the relevant slide notes and the handbook’s source map.
York project appendices
Imaging setup and sensor-evolution lessons
Assay Guidance Manual
Enzyme assay development and interpretation
Firth and Patrick, 2005
Protein-library statistics
BSLA study, 2020
LipA optical-screening example
L. kefir ADH characterization
Identity of the NADH-dependent parent
P450 BM3 screening comparison
Product measurement versus cofactor depletion
Notes: These sources anchor the presentation. Sources for software, equipment features, advanced methods and the published correction to the machine-learning study appear in their relevant slide notes. The Evozyme campaign design, templates and example costs are proposed guidance. The demonstration measurements are synthetic.
Sources
https://andrewgyork.github.io/relaxation_sensors/appendix.html
https://www.ncbi.nlm.nih.gov/books/NBK92007/
https://academic.oup.com/bioinformatics/article/21/15/3314/195665
https://pmc.ncbi.nlm.nih.gov/articles/PMC7139672/
https://pubmed.ncbi.nlm.nih.gov/19082766/
https://www.nature.com/articles/s41598-019-52077-w
Handbook: Evozyme, edition 2, 9 September 2026.